DEVELOPMENT NAME:

DEVELOPMENT LOCATION:

| ITEM | VERIFICATION (Yes/No/NA) | COMMENT |
| --- | --- | --- |
| ALLOTMENT DRAINAGE The works have been finally inspected and: |  |  |
| - Concrete catch drains constructed in approved location and to a satisfactory standard. |  |  |
| - Field Inlets constructed in approved location and to a satisfactory standard. |  |  |
| - Overland flow path constructed to correct profile. |  |  |
| - Pipework has been visually inspected and is satisfactory ie., - alignment and grade - free of debris and siltation - no visual sign of trench subsidence - outlets are satisfactory |  |  |
| - Lots not provided with Allotment Drainage can be drained to the kerb and channel. |  |  |
| STORMWATER DRAINAGE SYSTEM The works have been finally inspected and: |  |  |
| - Pipe layout is as per plan or approved amendments with respect to pipe size, levels and location. |  |  |
| - Pipework has been visually inspected and is satisfactory, ie., - alignment and grade - free of debris and siltation - pipe joints satisfactory - lifting plug holes sealed - no visible sign of trench subsidence - no damaged pipes |  |  |
| - Gully pits and manholes have been constructed to the correct standards, ie., - correct type of grate or cover - backstones - side entry slots - benching (no water ponding) - grates are satisfactorily seated in frames - weepholes provided to bedding material - no damaged structures - converter slabs/sections mortar bedded - correct drops through gullies/manholes - all lids/grates finished to match surface level |  |  |

| - All density tests to backfill are available and satisfactory. |  |  |
| --- | --- | --- |
| - Material Gradings are available for bedding material and satisfactory. |  |  |
| - Outlet/Inlet structures are satisfactorily constructed and are free from scour or siltation. |  |  |
| - All manhole and gully pit pipe connections are mortared flush with the walls and no pipe reinforcement is exposed. |  |  |
| - Open cut channels have been finally inspected are satisfactory, ie., - cut to design profiles - lining of channel is to the required thickness and reinforcement, with appropriate weepholes |  |  |
| - Overland flow, the works have been finally inspected and appropriate flowpaths are provided and clear of obstruction. |  |  |
| - Outlets and outfalls have been constructed to control discharge flow in accordance with the plans. |  |  |
| - Subsoil drainage discharges to gullies or other approved points of discharge. |  |  |
| - All grassing requirements to channels, swales, outlets, inlets etc have been completed. |  |  |
| - Soil and Water Management measures in place, have been suitably maintained and are suitably located to effectively operate during the Defects Liability Period. |  |  |
| EARTHWORKS The works have been finally inspected and: |  |  |
| - Toe of batters not on Local Government road reserve except as approved. |  |  |
| - Retaining walls clear of road reserve except as approved. |  |  |
| - Retaining walls constructed in accordance with drawings. |  |  |
| - Batter slopes constructed in accordance with drawings. |  |  |
| - Batter slopes stabilised against erosion. |  |  |
| - Interim drainage constructed in accordance with drawings. |  |  |
| - All areas disturbed by the works have been rehabilitated. |  |  |
| SEWER RETICULATION The works have been finally inspected and: |  |  |
| - Pipe layout is as per the plan or approved amendments with respect to pipe size, levels and location. |  |  |
| - Pipework has been visually inspected and is satisfactory, ie: - pipework flush with internal walls of manhole - alignment and grade - flexible joints - line flushed and clean - no visible sign of trench subsidence - All density tests of backfill are available and satisfactory. - CCTV Tests are available and satisfactory where ordered by Local Gornment |  |  |
| - Manholes have been constructed to the correct standards, ie., - benching - curvature satisfactory - no ponding - profile satisfactory - no weeps (free of infiltration) - concrete work - no honey combing - no weeps, etc - covers - correct type - imprint in accordance with standards - depth of cover surround - depth of top slab - location - relative to lot boundaries - 50-75mm proud of finished surface level. |  |  |
| - Material gradings for bedding material are available and satisfactory. |  |  |
| - Pressure test results are available and satisfactory. |  |  |
| - Manhole hydrostatic test all satisfactory. |  |  |
| - Sewerage connection Private Works fees paid. |  |  |
| WATER RETICULATION The works have been finally inspected and: |  |  |
| - Pipe layout and services fixtures (valves and hydrants) is as per the plan or approved amendments with respect to pipe size and location. |  |  |
| - Pipework has been pressure tested in accordance with Local Government’s requirements and test results are available and satisfactory. |  |  |
| - Pipework has been chlorinated in accordance with Local Government’s requirements. |  |  |
| - There are no visible signs of trench subsidence or leaks. |  |  |
| - Valves and hydrants have been inspected and are satisfactory, ie., - location - setts and surrounds correctly installed to prevent ingress of soil, etc. - mortar packing to boxes correctly completed - depth to top of hydrant or valve stem within limits - dust caps to hydrants - colour of marker plate correct - marking plates correctly installed - size of plate correct |  |  |
| - Material gradings for bedding material are available and satisfactory. |  |  |
| - Water supply connection Private works fees paid. |  |  |
| ROAD PAVEMENTS The works have been finally inspected and: |  |  |
| - Plan layout and geometry of road system is in accordance with the drawings. |  |  |
| - Finished levels at crown and channel are at design levels. |  |  |
| - Crossfalls are to the approved plan. |  |  |
| - AC is satisfactory with regard to finish and thickness. |  |  |
| - Joints in the seek (especially where various development stages apply) are flush. |  |  |
| - The sealed surface is free of blemishes. |  |  |
| - All compaction test, material quality (CBR), material grading, AC core tests are satisfactory and available. |  |  |
| SEGMENTAL PAVERS (Where constructed) The works have been finally inspected and: |  |  |
| - All pavers have been correctly laid to pattern, within allowable tolerance, compacted, and the joints filled. |  |  |
| - Bedding sand for pavers drains to subsoil drainage. |  |  |
| - Pavers adjacent to concrete kerb and channel, edge restraints etc have been cut and laid in accordance with all relevant requirements. |  |  |
| CONCRETE KERB AND CHANNEL AND MEDIANS The works have been finally inspected and: |  |  |
| - The correct type has been used to all locations (including medians) in accordance with drawings. |  |  |
| - Ponding of stormwater does not occur. |  |  |
| - Transitions and connection to existing construction are smooth and to a satisfactory standard of workmanship. |  |  |
| - Service conduit markers have been placed to kerb face. |  |  |
| - Lip and back of kerb are flush with the roadway and footpath respectively. |  |  |
| - All channelisation works and medians have been satisfactorily completed. |  |  |
| - Infill treatment of medians has been inspected and found satisfactory. Any landscaping has been completed to standard. |  |  |
| - Subsoil drains have been provided (including under medians). |  |  |
| - Standard Stormwater Kerb Adaptors have been provided to all allotments falling to the Roadway (at downstream side of frontage). |  |  |
| FOOTPATHS The works have been finally inspected and: |  |  |
| - Profiles are as per plan. |  |  |
| - Footpath has been topsoiled and satisfactory. |  |  |
| - Footpaths have been stabilised/turfed.. |  |  |
| - All service fixtures (such as valves etc.) 25mm above the surrounding footpath. |  |  |
| - Concrete footpaths have been constructed to Local Government standards |  |  |
| - Pram ramps constructed as required. |  |  |
| - Footpaths to be free of rock and loose stones. |  |  |
| BIKEWAYS The works have been finally inspected and: |  |  |
| - Location and width are as per the drawings. |  |  |
| - Kerb ramps and crossings are constructed. |  |  |
| - Safety rails and signs have been installed where required. |  |  |
| FENCING AND FEATURES The works have been finally inspected and: |  |  |
| - All fences including approved entrance features have been constructed within allotments. Survey pegs are visible. |  |  |
| - Specifically approved entrance features are constructed in accordance with the drawings. |  |  |
| - Entrance features and fences have satisfied Building Approvals (if required). |  |  |
| - Sound attenuation fences and/or mounds are constructed on private property and in accordance with the drawings where required. |  |  |
| OTHER |  |  |
| - Street name signs, traffic signs and pavement marking have been installed and are in accordance to Local Government requirements |  |  |
| - Works have not resulted in problems on neighbouring properties. Clearance letters from property owners are available where applicable. |  |  |
| - All boundaries of Subdivision/Development have been inspected to ensure works as constructed will not affect adjoining properties. |  |  |
| - All necessary testing to ensure the quality of the work has been carried out and results are available. (as per Subdivision Inspection & Test Plan) |  |  |
| - Consulting Engineer’s compliance certificate is completed (refer Annexure AP1.A of the Capricorn Municipal Development Guidelines) |  |  |
| - “As Constructed” submission has been provided to Local Government and is satisfactory. |  |  |
| - All allotment boundaries, easements etc, have been pegged. |  |  |
| - All test results and records have been compiled and stored in the Record Storage facilities of the Consulting Engineer’s office and a copy forwarded to Local Government. |  |  |
| - All operating Manuals, maintenance procedures, mechanical warranties etc have been submitted to Local Government. |  |  |
| - Park land are in a mowable position where practical and free of rock and loose stones. |  |  |
| INSPECTING ENGINEER’S SIGNATURE: NAME: CONSULTING ENGINEER: RPEQ No: DATE: / / |  |  |